## Sheet1
| Temperature In, K | Temperature Out, K | Flow Rate, v (m^3/s) | Flow Density, p, (kg/s) | Mass Flow Rate | Specific Heat Capacity (m^2/s^2 K) | Density (kg/m^3) | Delta T
Solar Salt | 873.15 | 755.552 | 0.74421 | 1414 | 1052.3137 | 1500 | 1900 | -117.598
Water | 298.15 | 793.15 | 0.5 | 500 | 250 | 4205 | 1000 | 495
| (mCp)hot | 1052.3137
| (mCp)cold | 250 |  | From Equation | (mCp)hot | Delta,T cold
| Delta,T cold | 495 |  |  | (mCp)cold | Delta,T hot
| Delta,T hot | 117.598 | HEAT LOSS. This means the molten salt is coming out at |  |  | 755.552
-1 | Firs assuming heat exchanger is perfect T,hi = T,co
| Q (A to inifity) = | (mCp)cold * (T,hi - T,ci) |  | 143750
2 | Using Heat Exchanger Effectiveness, e
| e = Q/Q(A to infinity) |  | In our case considering a heat exchanger efficiency of 94% Q = |  |  | 6.5391e-06
3 | If we use the other formula: